## Data Upload
01. Discharge to Water and Land monitoring points 1 ,2 ( EDP1,EDP2 - referred on map) - Sampling Quartely
Sample ID | Sample Location Refer map titled "SAMPLING POINTS NYNGAN REUSE SCHEME" | Sampling Date | Sampling frequency | Biochemical oxygen demand | Nitrogen (total) | Oil and grease | Phosphorous (total) | Total suspended solids | Amonia as N | Faecal Coliforms (CFU - Colony Forming Units /100 mL) NBO - Noted Background Organisam | pH (Field)
Acceptable range |  |  |  | 0-30 mg/L | 0-15 mg/L | 0-10 mg/L | 0-10 mg/L | 0-30 mg/L | 5 mg/L | 200 CFU/100 mL
EDP1 | Effluent reuse pond | 2012-07-01 | Quarterly | 50 | 8.1 | <5 | 5.29 | 18
|  | 2012-11-14 | Quarterly | 27 | 9 | <5 | 7.4 | 28 |  |  | 7
|  | 2013-04-03 | Quarterly | 28 | 20 | <5 | 3.8 | 190 |  |  | 7.2
|  | 2013-08-05 | Quarterly | 55 | 12 | <5 | 5.2 | 53 | 0.57 | 73 | 7.1
|  | 2013-11-05 | Quarterly | 37 | 15 | 10 | 0 | 150 | <0.005 | 20 | 7
|  | 2014-02-18 | Quarterly | 37 | 17 | <5 | 4.9 | 82 | 6.1 | 98 | 7
|  | 2014-06-10 | Quarterly | 27 | 11 | <5 | 4.5 | 96 | 2.1 | 2 | 6.9
|  | 2014-09-23 | Quarterly | <5 | 5 | <5 | 4.3 | 43 | 1 | <10 | 6.8
|  | 2014-12-10 | Quarterly | 17 | 4.5 | 6 | 3.1 | 40 | 0.007 | <1000 NBO | 6.9
|  | 2015-03-17 | Quarterly | 13 | 7.2 | <5 | 4.8 | 82 | <0.005 | 100 NBO | 6.9
|  | 2015-06-30 | Quarterly | 9 | 10 | <5 | 5.2 | 47 | 1.9 | <1 NBO | 7.1
|  | 2015-10-07 | Quarterly | <5 | 6 | <5 | 3.5 | 23 | 1.8 | 6400 | 8.4
|  | 2016-02-16 | Quarterly | 14 | 3.7 | <5 | 1.7 | 120 | <0.005 | <20 | 9.5
|  | 2016-03-21 | Quarterly | 140 | 6.2 | <5 | 2.5 | 37 | <0.005 | <1000 | 9.4
|  | 2016-07-04 | Quarterly | <5 | 5.2 | <5 | 3.4 | 21 | 0.31 | 88 | 8.6 |  | 5 | 5 | 0.3
|  | 2016-10-11 | Quarterly | 10 | 4.2 | <5 | 3.5 | 60 | <0.005 | 50 | 9.1 |  | 10 | 5 | 0.005
|  | 2017-05-16 | Quarterly | 51 | 3.5 | <5 | 5.3 | 88 | 0.018 | 9200 | 8.7 |  | 51 | 5 | 0
|  | 2017-06-20 | Quarterly | <5 | 9.3 | <5 | 2.9 | 68 | <0.005 | 2400 | 9.2 |  | 5 | 5 | 0.005
|  | 2017-09-26 | Quarterly | <5 | 7.3 | <5 | 5.4 | 16 | 3.1 | 18 | 8.7
|  | Minimum |  | <5 | 3.5 | <5 | 2.9 | 21 | <0.005 | 50 | 8.6
|  | Maximum |  | 51 | 9.3 | <5 | 5.3 | 88 | 0.3 | 9200 | 9.1
|  | Average |  | <18 | 5.6 | <5 | 3.8 | 59.3 | <0.078 | 2934 | 8.9
EDP2 | Centre of Pivot on property Laravoulta | 2012-07-01 | Quarterly | 37 | 10.3 | <5 | 4.27 | 38
|  | 2012-11-14 | Quarterly | 29 | 10 | <5 | 6.2 | 230 |  |  | 7.1
|  | 2013-04-03 | Quarterly | 44 | 18 | <5 | 3.2 | <5 |  |  | 7.2
|  | 2013-08-07 | Quarterly | 35 | 9.6 | <5 | 4.8 | 44 | 1.2 | 70 | 7.2
|  | 2013-11-07 | Quarterly | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  | 2014-02-17 | Quarterly | 44 | 12 | <5 | 1.4 | 8 | 9.1 | <1 | 7.2
|  | 2014-06-11 | Quarterly | 9 | 12 | <5 | 4.4 | 27 | 3.8 | 10 | 7
|  | 2014-09-23 | Quarterly | 9 | 5 | <5 | 4.8 | 20 | 0.35 | <10 | 7
|  | 2014-12-10 | not sampled | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  | 2015-03-17 | not sampled | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  | 2015-06-30 | Quarterly | 34 | 11 | <5 | 3.8 | 8 | 5.2 | 70 (appx) | 7.2
|  | 2015-10-07 | Quarterly | <5 | 6.3 | <5 | 3.8 | <5 | 2.8 | <1 NBO | 8.3
|  | 2016-02-16 | not sampled | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No Use | 20
|  | 2016-03-21 | not sampled | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No Use | 210
|  | 2016-07-04 | not sampled | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No Use
|  | 2016-10-11 | not sampled | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No Use
|  | 2017-05-16 | Quarterly | 16 | 1.8 | <5 | 2.4 | 29 | 0.25 | <20 | 9.4
|  | 2017-06-20 | Quarterly | 15 | 9.3 | 14 | 2.7 | 43 | 0.49 | 210 | 9.1
|  | 2017-09-26 | Quarterly | <5 | 7.6 | <5 | 5.4 | 14 | 3 | 7 (appx) | 8.8
|  | Minimum |  | 15 | 1.8 | <5 | 2.4 | 29 | 0.3 | <20 | 9.1
|  | Maximum |  | 16 | 9.3 | 14 | 2.7 | 43 | 0.5 | 210 | 9.4
|  | Average |  | 15.5 | 5.6 | <9.5 | 2.6 | 36 | 0.4 | <115 | 9.3
02. Ground Water monitoring points 3,4,5,6,7(MB1,MB2,MB3,MB4,MB5 - refers on map) - Sampling Quartely
Sample ID | Sample Location Refer map titled "SAMPLING POINTS NYNGAN REUSE SCHEME" | Sampling Date | Sampling frequency | Standing water level (m) | Calcium | Conductivity (mS/cm) | Magnesium | Nitrate | pH | Potassium | Sodium | Sodium Adsorption Ratio (%) | Thermotolerant coliforms (CFU/100mL) Approximates | Total Phosphorous
Acceptable range EQL |  |  |  | n/a | 0.5 | 1 | 0.5 | 0.005 | n/a | 0.5 | 0.5 | 0.01 | 20 | 0.05
MB1 | E 519597 / N 6510451
|  | 2012-11-12 | Quarterly | 15.925 | 690 | 35.8 | 1300 | 0.014 | 6.5 | 47 | 9000 | 47 | 40 | <0.05
|  | 2012-04-02 | Quarterly | 16.1 | 710 | 37.4 | 1200 | <0.005 | 6.2 | 54 | 9800 | 52 | <10 | <0.05
|  | 2013-08-05 | Quarterly | 15.98 | 700 | 38 | 1300 | <0.005 | 6.5 | 61 | 10000 | 53 | <10 | <0.05
|  | 2013-11-05 | Quarterly | 16.002 | 710 | 39 | 1400 | <0.005 | 7.9 | 46 | 8900 | 45 | <1 | 0.09
|  | 2014-02-17 | Quarterly | 15.979 | 680 | 39 | 1400 | 0.02 | 6.5 | 53 | 9700 | 49 | <1 | <0.05
|  | 2014-06-10 | Quarterly | 16.121 | 750 | 39 | 1400 | <0.005 | 6.7 | 47 | 11000 | 9 | 130 | 0.09
|  | 2014-09-22 | Quarterly | 16.016 | 740 | 38 | 1400 | <0.005 | 6.5 | 45 | 10000 | 51 | <1 | 0.1
|  | 2014-12-09 | Quarterly | 13.048 | 650 | 39 | 1300 | <0.005 | 6.5 | 44 | 9800 | 51 | <10 | <0.25
|  | 2015-03-16 | Quarterly | 15.924 | 690 | 37 | 1300 | <0.005 | 6.6 | 60 | 9800 | 50 | <10 | 0.08
|  | 2015-06-30 | Quarterly | 15.645 | 800 | 33 | 1600 | 0.006 | 6.6 | 54 | 11000 | 52 | 100 | 0.3
|  | 2015-10-07 | Quarterly | 16.092 | 610 | 35 |  | <0.005 |  | 52 | 9800 | 53 | <1 | 0.1
|  | 2016-02-16 | Quarterly | 16.26 | 720 | 41 | 1400 | 0.04 | 7.9 | 50 | 10000 | 51 | 20 | 1
|  | 2016-03-21 | Quarterly | 16.418 | 660 | 36 | 1300 | 0.086 | 7.2 | 55 | 11000 | 55 | <20 | 7.4 |  | 0.05
|  | 2016-07-04 | Quarterly | 16.182 | 820 | 34 | 1600 | 0.092 | 6.7 | 52 | 11000 | 52 | <200 | 2.5 |  | 0.2
|  | 2016-10-12 | Quarterly | 16.1 | 640 | 38 | 1200 | 0.03 | 6.8 | 52 | 9600 | 51 | <20 | 2 |  | 2
|  | 2017-05-16 | Quarterly | 16.032 | 650 | 32 | 1200 | 0.15 | 6.9 | 46 | 11000 | 56 | <20 | 0.2 |  | 2.5
|  | 2017-06-20 | Quarterly | 16.097 | 700 | 38 | 1400 | 0.01 | 6.7 | 60 | 11000 | 55 | <10 | <0.05
|  | 2017-09-26 | Quarterly | 16.102 | 570 | 39 | 1100 | 0.04 | 6.4 | 41 | 8800 | 49 | <1 | <0.05
|  | Minimum |  | 16.032 | 640 | 32 | 1200 | 0.01 | 6.7 | 46 | 9600 | 51 | <10 | <0.05
|  | Maximum |  | 16.182 | 820 | 38 | 1600 | 0.15 | 6.9 | 60 | 11000 | 56 | <200 | 2.5
|  | Average |  | 16.1028 | 702.5 | 35.5 | 1350 | 0.0705 | 6.775 | 52.5 | 10650 | 53.5 | <62 | <1.2
MB2 | E 519123 / N 6510301 |  | Q1
|  | 2012-11-12 | Quarterly | 15.705 | 550 | 33.9 | 1100 | 0.45 | 7 | 57 | 9000 | 50 | 30 | 0.2
|  | 2012-04-02 | Quarterly | 16.02 | 590 | 36 | 1100 | 0.19 | 6.5 | 63 | 9800 | 54 | 150 | 0.07
|  | 2013-08-05 | Quarterly | 16.021 | 550 | 36 | 1000 | 0.15 | 7.3 | 69 | 9900 | 57 | <10 | 0.1
|  | 2013-11-05 | Quarterly | 15.915 | 580 | 38 | 1300 | 0.3 | 8 | 55 | 9000 | 48 | <1 | 0.05
|  | 2014-02-17 | Quarterly | 15.884 | 550 | 36 | 1200 | 0.57 | 7.8 | 60 | 9500 | 51 | <1 | 0.2
|  | 2014-06-11 | Quarterly | 16.012 | 640 | 36 | 1300 | 0.37 | 6.8 | 53 | 10000 | 9.5 | <1 | <0.05
|  | 2014-09-22 | Quarterly | 15.919 | 600 | 36 | 1300 | 0.43 | 6.8 | 53 | 10000 | 52 | 1 (appx) | <0.05
|  | 2014-12-09 | Quarterly | 15.976 | 600 | 38 | 1300 | 0.41 | 6.8 | 56 | 10000 | 54 | 10 | <0.25
|  | 2015-03-16 | Quarterly | 15.812 | 580 | 37 | 1300 | 0.36 | 6.8 | 68 | 9700 | 51 | <1 | <0.05
|  | 2015-06-30 | Quarterly | 15.438 | 500 | 34 | 1500 | 0.43 | 6.8 | 65 | 11000 | 52 | <1 | 0.05
|  | 2015-10-07 | Quarterly | 16.029 | 510 | 36 |  | 0.48 |  | 58 | 9500 | 53 | <1 | <0.05
|  | 2016-02-16 | Quarterly | 16.19 | 590 | 39 | 1300 | 0.45 | 7.3 | 59 | 9900 | 52 | <20 | 0.1
|  | 2016-03-21 | Quarterly | 16.138 | 550 | 38 | 1200 | 0.38 | 7.2 | 65 | 10000 | 57 | <20 | 0.9
|  | 2016-07-04 | Quarterly | 16.157 | 660 | 33 | 140 | 0.44 | 6.9 | 61 | 11000 | 54 | <200 | 0.2 |  | 0.2
|  | 2016-10-12 | Quarterly | 16.075 | 570 | 37 | 1200 | 0.48 | 7.2 | 66 | 9500 | 51 | <20 | 0.1 |  | 0.1
|  | 2017-05-16 | Quarterly | 16.052 | 500 | 33 | 1200 | 0.69 | 7 | 56 | 11000 | 58 | <20 | 0.2 |  | 0.2
|  | 2017-06-20 | Quarterly | 16.084 | 580 | 37 | 1200 | 0.55 | 7 | 69 | 10000 | 55 | <1 | <0.05 |  | 0.05
|  | 2017-09-26 | Quarterly | 16.091 | 610 | 38 | 1300 | 0.47 | 6.7 | 57 | 9900 | 51 | <1 | 0.05
|  | Minimum |  | 16.052 | 500 | 33 | 140 | 0.44 | 6.9 | 56 | 9500 | 51 | <200 | <0.05
|  | Maximum |  | 16.157 | 660 | 37 | 1200 | 0.69 | 7.2 | 69 | 11000 | 58 | <1 | 0.2
|  | Average |  | 16.092 | 577.5 | 35 | 935 | 0.54 | 7.025 | 63 | 10375 | 54.5 | <60 | <0.1
MB3 | E 519586 / N 6509978
|  | 2012-11-12 | Quarterly | 15.84 | 570 | 35.5 | 1200 | 0.36 | 6.9 | 46 | 9500 | 51 | 20 | 0.1
|  | 2012-04-02 | Quarterly | 16.06 | 620 | 38 | 1100 | 0.36 | 6.5 | 49 | 10000 | 55 | <10 | 0.08
|  | 2013-08-05 | Quarterly | 16.062 | 720 | 38 | 1500 | 0.31 | 6.8 | 60 | 1200 | 60 | <10 | 0.1
|  | 2013-11-05 | Quarterly | 15.987 | 620 | 39 | 1300 | 0.37 | 8.1 | 42 | 9100 | 48 | <1 | <0.05
|  | 2014-02-17 | Quarterly | 15.547 | 590 | 37 | 1300 | 0.44 | 6.8 | 51 | 10000 | 52 | 30 | 0.06
|  | 2014-06-10 | Quarterly | 16.104 | 730 | 38 | 1500 | 0.38 | 6.7 | 49 | 12000 | 5.8 | 10 | 0.06
|  | 2014-09-22 | Quarterly | 15.988 | 680 | 37 | 1400 | 0.43 | 6.7 | 44 | 11000 | 54 | <1 | 0.05
|  | 2014-12-09 | Quarterly | 16.012 | 650 | 39 | 1400 | 0.36 | 6.8 | 45 | 11000 | 57 | 320 | <0.25
|  | 2015-03-16 | Quarterly | 15.891 | 620 | 38 | 1400 | 0.36 | 6.7 | 56 | 10000 | 50 | 80 | <0.05
|  | 2015-06-30 | Quarterly | 15.442 | 651 | 5 | 1400 | 0.47 | 6.8 | 54 | 10000 | 52 | <1 NBO | 0.07
|  | 2015-10-07 | Quarterly | 16.017 | 540 | 38 |  | 0.43 |  | 49 | 9800 | 55 | <1 | <0.05
|  | 2016-02-16 | Quarterly | 16.19 | 760 | 45 | 1600 | 0.25 | 7.2 | 60 | 12000 | 54 | <20 | 0.6
|  | 2016-03-21 | Quarterly | 16.154 | 730 | 45 | 1500 | 0.27 | 7.2 | 61 | 12000 | 59 | <20 | 0.7
|  | 2016-07-04 | Quarterly | 16.133 | 780 | 36 | 1600 | 0.34 | 6.9 | 55 | 12000 | 55 | <200 | 1.1 |  | 1.1
|  | 2016-10-12 | Quarterly | 16.051 | 750 | 41 | 1500 | 0.24 | 7.1 | 61 | 12000 | 58 | <20 | 0.2 |  | 0.2
|  | 2017-05-16 | Quarterly | 16.058 | 670 | 36 | 1300 | 0.41 | 7 | 52 | 12000 | 59 | <20 | 0.9 |  | 0.9
|  | 2017-06-20 | Quarterly | 16.114 | 730 | 41 | 1500 | 0.3 | 7 | 60 | 12000 | 58 | <10 | <0.05 |  | 0.05
|  | 2017-09-26 | Quarterly | 16.083 | 690 | 42 | 1400 | 0.31 | 6.8 | 48 | 11000 | 54 | <1 | <0.05
|  | Minimum |  | 16.051 | 670 | 36 | 1300 | 0.24 | 6.9 | 52 | 12000 | 55 | <10 | <0.05
|  | Maximum |  | 16.133 | 780 | 41 | 1600 | 0.41 | 7.1 | 61 | 12000 | 59 | <200 | 1.1
|  | Average |  | 16.089 | 732.5 | 38.5 | 1475 | 0.3225 | 7 | 57 | 12000 | 57.5 | <62 | <0.5
MB4 | E 518560 / N 6509440
|  | 2012-11-13 | Quarterly | 13.05 | 0.9 | 1.8 | 2.8 | 11 | 7.5 | 2.8 | 370 | 37 | <20 | 0.6
MB1 |  | 2012-04-02 | Quarterly | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  | 2013-08-05 | Quarterly | 13.052 | 1.9 | 2.2 | 3.7 | 8.2 | 7.1 | 4.2 | 540 | 52 | <10 | 0.6
|  | 2013-11-05 | Quarterly | 13.051 | 2 | 21 | 4.9 | 9.7 | 8.3 | 3.5 | 450 | 39 | <1 | 0.3
|  | 2014-02-17 | Quarterly | 13.05 | 1.3 | 2.1 | 3.8 | 8.7 | 7.9 | 4.6 | 570 | 56 | 10 | 0.4
|  | 2014-06-10 | Quarterly | 13.111 | 1.3 | 2.1 | 4.2 | 8.1 | 7.3 | 3.8 | 580 | 46 | <1 | 0.2
|  | 2014-09-23 | Quarterly | 13.079 | 2.3 | 2.1 | 4.2 | 8.4 | 7.3 | 4 | 570 | 51 | <10 NBO | 0.5
|  | 2014-12-10 | Quarterly | 13.087 | 1.3 | 2.1 | 3.6 | 9.3 | 7.3 | 3.7 | 540 | 55 | 3000 | 0.3
MB2 |  | 2015-03-17 | Quarterly | 13.087 | 1.4 | 2.1 | 4.5 | 9.9 | 7.4 | 4.3 | 550 | 51 | 3200 | 0.3
|  | 2015-06-30 | Quarterly | 12.814 | 1.1 | 2 | 3.8 | 10 | 7.3 | 4.1 | 530 | 53 | 200 (appx) NBO | 0.3
|  | 2015-10-07 | Quarterly | 13.402 | 1.1 | 2.4 |  | 11 |  | 3.6 | 550 | 57 | <1 | 0.2
|  | 2016-02-16 | Quarterly | 13.6 | 1.2 | 2.1 | 3.7 | 12 | 7.6 | 4.1 | 550 | 55 | <20 | 4.6
|  | 2016-03-21 | Quarterly | 13.755 | 0.9 | 2.2 | 3.9 | 13 | 7.5 | 4.9 | 620 | 62 | <20 | 2.2
|  | 2016-07-04 | Quarterly | 13.444 | 1.1 | 2.2 | 4.5 | 14 | 7.2 | 4.3 | 590 | 55 | <200 | 0.8 |  | 200
|  | 2016-10-12 | Quarterly | 13.5 | 0.9 | 2.1 | 3.7 | 12 | 7.6 | 4.2 | 520 | 54 | <20 | 0.2 |  | 20
|  | 2017-05-16 | Quarterly | 12.911 | 1.2 | 2 | 3.7 | 11 | 7.7 | 3.7 | 560 | 57 | <20 | 0.2 |  | 20
|  | 2017-06-20 | Quarterly | 12.955 | 1.1 | 2.1 | 3.8 | 12 | 7.3 | 4.2 | 500 | 50 | <20 | 0.5 |  | 20
|  | 2017-09-26 | Quarterly | 12.95 | 1.2 | 2 | 4.1 | 11 | 7.6 | 3.8 | 540 | 52 | <10 | 0.4
|  | Minimum |  | 12.911 | 0.9 | 2 | 3.7 | 11 | 7.2 | 3.7 | 500 | 50 | <20 | 0.2
|  | Maximum |  | 13.5 | 1.2 | 2.2 | 4.5 | 14 | 7.7 | 4.3 | 590 | 57 | <200 | 0.8
|  | Average |  | 13.2025 | 1.075 | 2.1 | 3.925 | 12.25 | 7.45 | 4.1 | 542.5 | 54 | <65 | 0.425
MB5 | E 520385 / N 6510111
|  | 2012-11-13 | Quarterly | 15.75 | 140 | 16.3 | 290 | 6.5 | 7.1 | 18 | 4100 | 45 | 70 | 0.6
MB4 |  | 2012-04-02 | Quarterly | 15.94 | 140 | 17.3 | 280 | 6.5 | 6.6 | 18 | 4200 | 47 | <10 | <0.05
|  | 2013-08-05 | Quarterly | 15.938 | 140 | 18 | 280 | 6.2 | 6.9 | 22 | 4500 | 50 | <10 | <0.05
|  | 2013-11-05 | Quarterly | 15.876 | 160 | 19 | 330 | 6.8 | 8.3 | 18 | 4300 | 44 | <1 | 0.1
|  | 2014-02-17 | Quarterly | 15.839 | 160 | 19 | 320 | 7.6 | 6.9 | 20 | 5100 | 52 | <1 | <0.005
|  | 2014-06-11 | Quarterly | 15.989 | 170 | 18 | 360 | 6.8 | 6.9 | 19 | 5400 | 17 | 2 | <0.005
|  | 2014-09-23 | Quarterly | 15.877 | 180 | 18 | 430 | 6.8 | 6.9 | 21 | 5100 | 51 | 1 (appx) NBO | 0.05
|  | 2014-12-10 | Quarterly | 15.891 | 190 | 19 | 410 | 6.9 | 6.9 | 20 | 5900 | 54 | <10 | <0.05
MB5 |  | 2015-03-17 | Quarterly | 15.897 | 150 | 19 | 350 | 6.2 | 7 | 25 | 4800 | 49 | 1400 NBO | <0.05
|  | 2015-06-30 | Quarterly | 15.372 | 160 | 18 | 350 | 6.3 | 7.8 | 25 | 5000 | 50 | <10000 NBO | 0.3 |  | 200
|  | 2015-10-08 | Quarterly | 16 | 140 | 18 |  | 6.5 |  | 20 | 4700 | 50 | <1 NBO | <0.05 |  | 20
|  | 2016-02-16 | Quarterly | 16.13 | 170 | 21 | 380 | 5.9 | 7.6 | 25 | 5400 | 52 | <20 | 3.6 |  | 50
|  | 2016-03-21 | Quarterly | 16.02 | 180 | 21 | 390 | 6 | 7.5 | 31 | 6100 | 58 | <20 | 1.5 |  | 20
|  | 2016-07-04 | Quarterly | 15.93 | 170 | 18 | 380 | 6.5 | 7.1 | 24 | 5400 | 52 | <200 | 0.8
|  | 2016-10-12 | Quarterly | 15.848 | 190 | 20 | 390 | 5.6 | 7.3 | 28 | 5000 | 47 | <20 | 0.2
|  | 2017-05-16 | Quarterly | 15.935 | 170 | 18 | 340 | 5.7 | 7 | 23 | 5700 | 57 | 50 | 0.8
|  | 2017-06-20 | Quarterly | 16 | 200 | 21 | 420 | 5.5 | 7.1 | 29 | 5700 | 53 | <20 | 0.3
|  | 2017-09-26 | Quarterly | 15.974 | 220 | 22 | 450 | 5 | 7 | 28 | 5300 | 47 | <10 | 0.3
|  | Minimum |  | 15.848 | 170 | 18 | 340 | 5.5 | 7 | 23 | 5000 | 47 | <20 | 0.2
|  | Maximum |  | 16 | 200 | 21 | 420 | 6.5 | 7.3 | 29 | 5700 | 57 | <200 | 0.8
|  | Average |  | 15.9283 | 182.5 | 19.25 | 382.5 | 5.825 | 7.125 | 26 | 5450 | 52.25 | <72 | 0.525
03. Soil monitoring points 11,12,13 ( SL1,SL2,SL3 - refers on map) - Sampling Annually
Sample ID | Sample Location Refer map titled "SAMPLING POINTS NYNGAN REUSE SCHEME" | Sampling Date | Sampling frequency | Available phosphorous (Cowell) | Available phosphorous (Bray) | Cation exchange capacity (meq/100g) | Conductivity (mS/cm) | Exchangeable aluminium (meq/100g) | Exchangeable calcium (meq/100g) | Exchangeable magnesium (meq/100g) | Exchangeable potassium (meq/100g) | Exchangeable sodium (meq/100g) | Exchangeable sodium percentage (%) | Nitrogen (total) | Organic carbon (%) | pH | Phosphorous (total) | Phosphorous sorption capacity (one point) | Phosphorous Buffer Index (mg/kg) | Phosphorus Sorption (kg/ha)
Acceptable range EQL |  |  |  | 10 | 1 | 1 | 1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 10 | 0.1 | n/a | 10 | 1 |  | 2
SL1 | E 519335/ N 6510123 | 2011-03-14 | Annually | 4097 | 41 | 8.8 | 170 | <0.01 | 4.7 | 1.9 | 2.1 | 0.12 | 1.4 | 1000 | 1.1 | 6.3 | 420 | 12.6
| E 519335/ N 6510123 | 2012-11-13 | Annually | 62 | 74 | 7.3 | 190 | <0.1 | 3.8 | 1.6 | 1.5 | 0.47 | 6.4 | 970 | 1.6 | 7.8 | 310 | 2.7
| E 519335/ N 6510123 | 2014-02-17 | Annually | 92 | 90 | 10 | 270 | <0.1 | 5.2 | 2 | 2.4 | 0.73 | 7.1 | 1300 | 1.7 | 7 | 540 |  |  | 3800
| E 519335/ N 6510123 | 2015-03-18 | Annually | 87 | 59 | 5.3 | 530 | <0.1 | 2.7 | 1.1 | 1.2 | 0.25 | 5 | 1600 | 1.5 | 7.4 | 370 |  | 69
| E 519335/ N 6510123 | 2016-02-16 | Annually | 170 | 100 | 10 | 940 | <0.1 | 4.9 | 2.4 | 2.5 | 0.24 | 2 | 1400 | 1.5 | 7.9 | 570 | 400 | 67 | 4000
| E 519118 / N 6510536 | 2017-06-20 | Annually | 110 | 75 | 11 | 310 | <0.1 | 4.9 | 2.4 | 2.6 | 0.65 | 6 | 1200 | 1.4 | 7.2 | 570 | 320 | 53 | 4000
SL2 | E 519452/ N 6510335 | 2011-03-14 | Annually | 3184 | 31 | 8 | 95 | <0.01 | 4.3 | 1.4 | 2.2 | 0.84 | 1.1 | 990 | 0.9 | 6.3 | 320 | 32
| E 519452/ N 6510335 | 2012-11-12 | Annually | 65 | 58 | 8.8 | 160 | <0.1 | 4.9 | 1.7 | 1.9 | 0.46 | 5.3 | 810 | 1.4 | 7.9 | 350 | 3
| E 519452/ N 6510335 | 2014-02-18 | Annually | 97 | 83 | 11 | 190 | <0.1 | 6.1 | 2.3 | 2.4 | 0.67 | 5.8 | 1100 | 1.8 | 7.4 | 500 |  |  | 3900
| E 519452/ N 6510335 | 2015-03-17 | Annually | 91 | 63 | 12 | 330 | <0.1 | 5.8 | 2.3 | 3.6 | 0.15 | 1 | 960 | 1.6 | 7.7 | 470 |  | 88
| E 519452/ N 6510335 | 2016-02-16 | Annually | 110 | 68 | 10 | 420 | <0.1 | 5.4 | 2.4 | 2.2 | 0.37 | 4 | 1300 | 1.7 | 7.4 | 530 | 360 | 61 | 3600
| E 519118 / N 6510536 | 2017-06-20 | Annually | 95 | 78 | 12 | 190 | <0.1 | 5.9 | 2.5 | 2.8 | 0.6 | 5 | 1400 | 1.7 | 7.2 | 530 | 370 | 64 | 3600
SL3 | E 519118 / N 6510536 | 2011-03-14 | Annually | 3328 | 15 | 8.6 | 78 | <0.01 | 4.5 | 2.5 | 1.2 | 0.36 | 4.2 | 570 | 0.8 | 6.7 | 240 | 32
| E 519118 / N 6510536 | 2012-11-12 | Annually | 26 | 15 | 5.8 | 49 | <0.1 | 2.9 | 2.1 | 0.6 | 0.26 | 4.4 | 530 | 0.96 | 6.9 | 200 | 3.2
| E 519118 / N 6510536 | 2014-02-17 | Annually | 29 | 16 | 10 | 70 | <0.1 | 4.8 | 3.7 | 1 | 0.68 | 6.8 | 650 | 0.85 | 6.8 | 250 |  |  | 7100
| E 519118 / N 6510536 | 2015-03-17 | Annually | 30 | 16 | 7 | 74 | <0.1 | 3.2 | 2.5 | 0.8 | 0.36 | 5 | 600 | 0.64 | 7.3 | 400
| E 519118 / N 6510536 | 2016-02-16 | Annually | 37 | 16 | 6.3 | 73 | <0.1 | 2.9 | 2.3 | 0.8 | 0.26 | 4 | 770 | 0.84 | 6.8 | 260 | 290 | 50 | 2900
| E 519118 / N 6510536 | 2017-06-20 | Annually | 35 | 12 | 6.9 | 48 | <0.1 | 3.2 | 2.5 | 0.9 | 0.37 | 5 | 790 | 0.83 | 6.8 | 260 | 280 | 47 | 2900
04. Soil monitoring points 8,9,10 ( SA1,SA2,SA3 - refers on map) - Sampling - Annually,when airport site is utilised for irrigation - No Data
Sample ID | Sample Location Refer map titled "SAMPLING POINTS NYNGAN REUSE SCHEME" | Sampling Date | Sampling frequency | Available phosphorous (Cowell) | Available phosphorous (Bray) | Cation exchange capacity (meq/100g) | Conductivity (mS/cm) | Exchangeable aluminium (meq/100g) | Exchangeable calcium (meq/100g) | Exchangeable magnesium (meq/100g) | Exchangeable potassium (meq/100g) | Exchangeable sodium (meq/100g) | Exchangeable sodium percentage (%) | Nitrogen (total) | Organic carbon (%) | pH | Phosphorous (total) | Phosphorous sorption capacity (one point) | Phosphorous Buffer Index (mg/kg) | Phosphorus Sorption (kg/ha)
Acceptable range EQL |  |  |  | 10 | 1 | 1 | 1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 10 | 0.1 | n/a | 10 | 1 |  | 2
SA1 | E 518560/ N 6509471
SA2 | E 518995/ N 6509487
SA3 | E 518848 / N 6509900
05.Groundwater Standing Level Monitoring Points ( MB1,MB2,MB3,MB4,MB5,MW1,MW2,MW3 - refers on map) Sampling - Monthly
Date | Sampling frequency | Standing Water LevelS ( SWL) of Following Bore I.D 's ( meters)
|  | MB1 | MB2 | MB3 | MB4 | MB5 | MW1 | MW2 | MW3
09.05.2013 | Monthly | 16.17 | 16.06 | 16.13 | 13.25 | 16.01 | 17.25 | 17.14 | 17.32
05.07.2013 | Monthly | 16.02 | 16 | 16.07 | 15.14 | 15.9 | 17.5 | 17.06 | 17.2
15.08.2013 | Monthly | 16.02 | 16.12 | 16.09 | 10.27 | 15.92 | 17.24 | N/A | 17.1
11.09.2013 | Monthly | 15.98 | 16.04 | 16.01 | 13.08 | 15.19 | 17.13 | 17.04 | 17.11
10.10.2013 | Monthly | 15.95 | 16.15 | 16 | 15.98 | 14.78 | 17.12 | 17.04 | 17.91
15.11.2013 | Monthly | 16.05 | 16.03 | 16.06 | 13.16 | 15.99 | 17.15 | 17.08 | 17.23
12.12.2013 | Monthly | 16.05 | 16.03 | 16.05 | 13.1 | 15.92 | 17.16 | 17.08 | 17.23
11.02.2014 | Monthly | 16.14 | 16.1 | 16.1 | 13.19 | 15.98 | 17.17 | 17.1 | 17.25
11.03.2014 | Monthly | 16.1 | 16.18 | 16.05 | 14.96 | 16 | 17.06 | 17.13 | 17.3

## Annual Reporting 2016-17
2014-15 Effluent Discharge Sampling Results
Sample ID | Sample Location Refer map titled "SAMPLING POINTS NYNGAN REUSE SCHEME" | Sampling Date | Sampling frequency | Biochemical oxygen demand | Nitrogen (total) | Oil and grease | Phosphorous (total) | Total suspended solids | Amonia as N | Faecal Coliforms (CFU- Colony forming units/100 mL) NBO - Noted Background Organisam | pH (Field)
EDP1 | Effluent reuse pond | Environment Protection Licence 100 th percentile concentration limits |  | 0-30 mg/L | 0-15 mg/L | 0-10 mg/L | 0-10 mg/L | 0-30 mg/L | 5 mg/L | 200 CFU/100 mL | 6.5-8.5
|  | 2014-09-23 | Quarterly | <5 | 5 | <5 | 4.3 | 43 | 1 | <10 | 6.8
|  | 2014-12-10 | Quarterly | 17 | 4.5 | 6 | 3.1 | 40 | 0.007 | <1000 NBO | 6.9
|  | 2015-03-17 | Quarterly | 13 | 7.2 | <5 | 4.8 | 82 | 0.005 | 100 NBO | 6.9
|  | 2015-06-30 | Quarterly | 9 | 10 | <5 | 5.2 | 47 | 1.9 | <1 NBO | 7.1
|  | Minimum |  | <5 | 4.5 | <5 | 3.1 | 40 | 0 | <1 | 6.8
|  | Maximum |  | 17 | 10 | 6 | 5.2 | 82 | 1.9 | <1000 | 7.1
|  | Average |  | 11 | 6.7 | <5 | 4.4 | 53 | 0.7 | 278 | 6.9
Total number of scheduled samples |  |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Total number of complying samples |  |  |  | 4 | 4 | 4 | 4 | 0 | 4 | 3 | 4
100 th percentile concentration limits |  |  |  | 100% | 100% | 100% | 100% | 0% | 100% | 75% | 100%
50th Percentile limit is considered for overall result |  |  |  | 100%
Source : | EPA testing results
2015-16 Effluent Discharge Sampling Results
Sample ID | Sample Location Refer map titled "SAMPLING POINTS NYNGAN REUSE SCHEME" | Sampling Date | Sampling frequency | Biochemical oxygen demand | Nitrogen (total) | Oil and grease | Phosphorous (total) | Total suspended solids | Amonia as N | Faecal Coliforms (CFU- Colony forming units/100 mL) NBO - Noted Background Organisam | pH (Field)
EDP1 | Effluent reuse pond | Environment Protection Licence 100 th percentile concentration limits |  | 0-30 mg/L | 0-15 mg/L | 0-10 mg/L | 0-10 mg/L | 0-30 mg/L | 5 mg/L | 200 CFU/100 mL | 6.5-8.5
|  | 2015-10-07 | Quarterly | <5 | 6 | <5 | 3.5 | 23 | 1.8 | 6400 | 8.4
|  | 2015-12-10 | Quarterly | 14 | 3.7 | <5 | 1.7 | 120 | <0.005 | <20 | 9.5
|  | 2016-03-21 | Quarterly | 140 | 6.2 | <5 | 2.5 | 37 | <0.005 | <1000 | 9.4
|  | 2016-06-30 | Quarterly | <5 | 5.2 | <5 | 3.4 | 21 | 0.31 | 88 | 8.6
|  | Minimum |  | <5 | 3.7 | <5 | 1.7 | 21 | <0.005 | <20 | 8.4
|  | Maximum |  | 140 | 6 | <5 | 3.5 | 120 | 1.8 | 6400 | 9.5
|  | Average |  | 41 | 5.3 | <5 | 2.8 | 50.3 | 0.53 | 1877 | 9
Total number of scheduled samples |  |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Total number of complying samples |  |  |  | 3 | 4 | 4 | 4 | 2 | 4 | 2 | 1
100 th percentile concentration limits |  |  |  | 75% | 100% | 100% | 100% | 50% | 100% | 50% | 25% | 87.5%
50th Percentile limit is considered for overall result |  |  |  | 87.5%
Source : | EPA testing results
2016-17 Effluent Discharge Sampling Results
Sample ID | Sample Location Refer map titled "SAMPLING POINTS NYNGAN REUSE SCHEME" | Sampling Date | Sampling frequency | Biochemical oxygen demand | Nitrogen (total) | Oil and grease | Phosphorous (total) | Total suspended solids | Amonia as N | Faecal Coliforms (CFU- Colony forming units/100 mL) NBO - Noted Background Organisam | pH (Field)
EDP1 | Effluent reuse pond | Environment Protection Licence 100 th percentile concentration limits |  | 0-30 mg/L | 0-15 mg/L | 0-10 mg/L | 0-10 mg/L | 0-30 mg/L | 5 mg/L | 200 CFU/100 mL | 6.5-8.5
|  | 2016-07-04 | Quarterly | <5 | 5.2 | <5 | 3.4 | 21 | 0.31 | 88 | 8.6
|  | 2016-10-12 | Quarterly | 10 | 4.2 | <5 | 3.5 | 60 | <0.005 | 50 | 9.1
|  | 2017-05-16 | Quarterly | 51 | 3.5 | <5 | 5.3 | 88 | 0.018 | 9200 | 8.7
|  | 2017-06-20 | Quarterly | <5 | 9.3 | <5 | 2.9 | 68 | <0.005 | 2400 | 9.2
|  | Minimum |  | <5 | 3.5 | <5 | 2.9 | 21 | <0.005 | 50 | 8.6
|  | Maximum |  | 51 | 9.3 | <5 | 5.3 | 88 | 0.31 | 9200 | 9.2
|  | Average |  | <18 | 5.55 | <5 | 3.775 | 59.25 | <0.07 | 2934.5 | 8.9
Total number of scheduled samples |  |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Total number of complying samples |  |  |  | 3 | 4 | 4 | 4 | 1 | 4 | 2 | 0
90th percentile concentration limits |  |  |  | 75% | 100% | 100% | 100% | 25% | 100% | 50% | 0% | 87.5%
50th Percentile limit is considered for overall result |  |  |  | 87.5%
Source : | EPA testing results
[5 empty] | 2692 | 3059 | 88%